## summaryO3 18 Jun 16
Averages of total ozone:
With the exisiting Calibration, Lamp tests included
Average is over the complete Mu range
D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD
279.0769 | 292.8428 | 279.566 | 268.4693 | 276.1929
2.884 | 16.6499 | 3.3732 | -7.7235
With Langley Plot Calibration
Langley Plot Adjustments and Lamp Test results included
D083_TO3_C* | D083_TO3_D* | D083_TO3_A* | D083_TO3_CD* | D083_TO3_AD*
278.2602 | 296.7741 | 280.1657 | 263.9767 | 275.9509
2.3094 | 20.8232 | 4.2148 | -11.9742

## IdD083
Dobson 083 at IZO 2016.Sep.23 Langley Plot Results
SLC083Na | -1.1 | SLC083Nc | -0.9 | [9 empty] | SLC083Nd | -1 | [11 empty] | Correction to
D083 LP adj. A:-0.67 C:-0.63 D:-0.31 Nad:-0.35 | [12 empty] | MaxMu | 2.5 | MaxMu can be changed | [5 empty] | LPC_C_83 |  | LPC_D_83 |  | LPC_A_83 | AD | CD
[20 empty] | With out High mu values | -0.32428 |  | -0.046699 |  | -0.011347 | 0.035352 | -0.27759 | [14 empty] | Limited Mu range
[11 empty] | 43 |  |  |  | 279.0769 | 292.8428 | 279.566 | 268.4693 | 276.1929 | all Values | -0.63244 |  | -0.31444 |  | -0.66523 | -0.35079 | -0.318 | [14 empty] | -0.3212 |  | 0.035511
D083RC | D083RD | D083RA | day | h | m | s | m | year |  |  |  | D083NC | D083ND | D083NA | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | 1/mu.C | P*C_83 | 1/Mu.D | P*D_83 | 1/Mu.A | P*A_83 | lst.C | Mu.C | AirM.C | lst.D | Mu.D | AirM.D | lst.A | Mu.A | AirM.A | lst.CD | Mu.CD | AirM.CD | lst.AD | Mu.AD | AirM.AD | 1/mu.cd | P*CD_83 | 1/mu.ad | P*AD_83
135.9 | 78.2 | 244.1 | 23 | 8 | 0 | 0 | 9 | 16 | C | 83 | IZO | 127.0343 | 74.3773 | 230.8907 | 274.5879 | 287.5255 | 277.1463 | 264.8199 | 274.4422 | 0.24671 | 0.22695 | 0.25017 | 0.10368 | 0.25363 | 0.49542 | 2016-09-23 08:00 | 4.0533 | 4.2309 | 2016-09-23 08:01 | 3.9973 | 4.1668 | 2016-09-23 08:02 | 3.9427 | 4.1047 | 2016-09-23 08:01 | 4.0251 | 4.1986 | 2016-09-23 08:02 | 3.9698 | 4.1356 | 0.24844 | 0.12326 | 0.2519 | 0.39174
129.1 | 73.5 | 232.5 | 23 | 8 | 4 | 0 | 9 | 16 | C | 83 | IZO | 120.6421 | 70.0735 | 218.9387 | 276.2404 | 285.6799 | 277.3921 | 269.1407 | 275.229 | 0.26056 | 0.22831 | 0.26402 | 0.10302 | 0.26749 | 0.49586 | 2016-09-23 08:04 | 3.8379 | 3.9861 | 2016-09-23 08:05 | 3.7875 | 3.9293 | 2016-09-23 08:06 | 3.7385 | 3.8742 | 2016-09-23 08:04 | 3.8126 | 3.9575 | 2016-09-23 08:06 | 3.7628 | 3.9016 | 0.26229 | 0.12529 | 0.26576 | 0.39284
122.5 | 69.7 | 222.1 | 23 | 8 | 8 | 0 | 9 | 16 | C | 83 | IZO | 114.4923 | 66.6043 | 208.4007 | 276.4982 | 286.8113 | 277.9849 | 268.6908 | 275.6956 | 0.27442 | 0.22853 | 0.27789 | 0.10343 | 0.28136 | 0.49692 | 2016-09-23 08:08 | 3.644 | 3.7687 | 2016-09-23 08:09 | 3.5985 | 3.7181 | 2016-09-23 08:10 | 3.5542 | 3.669 | 2016-09-23 08:08 | 3.6211 | 3.7432 | 2016-09-23 08:10 | 3.5762 | 3.6934 | 0.27616 | 0.1251 | 0.27962 | 0.39349
116.4 | 66.3 | 212.4 | 23 | 8 | 12 | 0 | 9 | 16 | C | 83 | IZO | 108.8258 | 63.5042 | 198.7112 | 276.3119 | 288.1157 | 278.306 | 267.3252 | 275.7762 | 0.28829 | 0.22837 | 0.29175 | 0.1039 | 0.29522 | 0.49749 | 2016-09-23 08:12 | 3.4688 | 3.5746 | 2016-09-23 08:13 | 3.4276 | 3.5292 | 2016-09-23 08:14 | 3.3874 | 3.4851 | 2016-09-23 08:12 | 3.448 | 3.5518 | 2016-09-23 08:13 | 3.4073 | 3.507 | 0.29002 | 0.12447 | 0.29348 | 0.3936
111.3 | 63.2 | 203.6 | 23 | 8 | 16 | 0 | 9 | 16 | C | 83 | IZO | 104.1038 | 60.6626 | 190.005 | 277.6033 | 289.0819 | 278.7769 | 268.848 | 276.1285 | 0.30214 | 0.22944 | 0.3056 | 0.10425 | 0.30905 | 0.49834 | 2016-09-23 08:16 | 3.3098 | 3.4002 | 2016-09-23 08:17 | 3.2723 | 3.3594 | 2016-09-23 08:18 | 3.2357 | 3.3196 | 2016-09-23 08:17 | 3.2909 | 3.3797 | 2016-09-23 08:18 | 3.2539 | 3.3393 | 0.30387 | 0.12519 | 0.30732 | 0.39409
106.2 | 60.4 | 195.1 | 23 | 8 | 20 | 0 | 9 | 16 | C | 83 | IZO | 99.3773 | 58.0852 | 181.638 | 277.2156 | 290.0632 | 278.4571 | 267.3836 | 275.4853 | 0.31596 | 0.22912 | 0.31941 | 0.1046 | 0.32285 | 0.49776 | 2016-09-23 08:20 | 3.165 | 3.2428 | 2016-09-23 08:21 | 3.1308 | 3.2059 | 2016-09-23 08:22 | 3.0974 | 3.1698 | 2016-09-23 08:20 | 3.1478 | 3.2242 | 2016-09-23 08:22 | 3.114 | 3.1877 | 0.31768 | 0.12452 | 0.32113 | 0.39316
101.7 | 57.8 | 187.4 | 23 | 8 | 24 | 0 | 9 | 16 | C | 83 | IZO | 95.1972 | 55.6792 | 174.0515 | 277.3427 | 290.5084 | 278.2533 | 267.2504 | 275.122 | 0.32973 | 0.22922 | 0.33317 | 0.10476 | 0.3366 | 0.4974 | 2016-09-23 08:24 | 3.0327 | 3.1001 | 2016-09-23 08:25 | 3.0015 | 3.0665 | 2016-09-23 08:26 | 2.9708 | 3.0337 | 2016-09-23 08:24 | 3.017 | 3.0832 | 2016-09-23 08:26 | 2.9861 | 3.05 | 0.33145 | 0.12446 | 0.33489 | 0.39264
97.7 | 55.4 | 180.6 | 23 | 8 | 28 | 0 | 9 | 16 | C | 83 | IZO | 91.4786 | 53.4489 | 167.3418 | 277.9061 | 290.6631 | 278.5332 | 268.1185 | 275.4372 | 0.34346 | 0.22969 | 0.34688 | 0.10482 | 0.3503 | 0.4979 | 2016-09-23 08:28 | 2.9116 | 2.9702 | 2016-09-23 08:29 | 2.8828 | 2.9396 | 2016-09-23 08:30 | 2.8547 | 2.9096 | 2016-09-23 08:28 | 2.8971 | 2.9548 | 2016-09-23 08:29 | 2.8687 | 2.9245 | 0.34517 | 0.12487 | 0.34859 | 0.39308
93.7 | 53.5 | 174.1 | 23 | 8 | 32 | 0 | 9 | 16 | C | 83 | IZO | 87.7711 | 51.6732 | 160.9824 | 277.1905 | 293.5207 | 278.427 | 264.6273 | 274.5852 | 0.35712 | 0.2291 | 0.36053 | 0.10585 | 0.36393 | 0.49771 | 2016-09-23 08:32 | 2.8002 | 2.8515 | 2016-09-23 08:33 | 2.7737 | 2.8234 | 2016-09-23 08:34 | 2.7478 | 2.7959 | 2016-09-23 08:33 | 2.7869 | 2.8374 | 2016-09-23 08:34 | 2.7607 | 2.8096 | 0.35883 | 0.12325 | 0.36223 | 0.39186
90.2 | 51.6 | 168.2 | 23 | 8 | 36 | 0 | 9 | 16 | C | 83 | IZO | 84.5274 | 49.885 | 155.2149 | 277.2358 | 294.7591 | 278.5261 | 263.7408 | 274.3991 | 0.37071 | 0.22914 | 0.3741 | 0.10629 | 0.37748 | 0.49789 | 2016-09-23 08:36 | 2.6975 | 2.7426 | 2016-09-23 08:37 | 2.6731 | 2.7168 | 2016-09-23 08:38 | 2.6491 | 2.6915 | 2016-09-23 08:36 | 2.6852 | 2.7297 | 2016-09-23 08:38 | 2.6611 | 2.7041 | 0.37241 | 0.12284 | 0.37579 | 0.39159
87 | 49.7 | 162.7 | 23 | 8 | 40 | 0 | 9 | 16 | C | 83 | IZO | 81.5594 | 48.086 | 149.8319 | 277.3995 | 294.3885 | 278.5135 | 264.3108 | 274.4792 | 0.38423 | 0.22927 | 0.38759 | 0.10616 | 0.39095 | 0.49786 | 2016-09-23 08:40 | 2.6026 | 2.6425 | 2016-09-23 08:41 | 2.58 | 2.6187 | 2016-09-23 08:42 | 2.5579 | 2.5954 | 2016-09-23 08:40 | 2.5913 | 2.6305 | 2016-09-23 08:42 | 2.5689 | 2.607 | 0.38591 | 0.12311 | 0.38927 | 0.39171
84.1 | 47.7 | 157.8 | 23 | 8 | 44 | 0 | 9 | 16 | C | 83 | IZO | 78.8789 | 46.1803 | 145.0686 | 277.8773 | 291.3381 | 279.0113 | 267.5134 | 275.8757 | 0.39765 | 0.22967 | 0.40099 | 0.10506 | 0.40433 | 0.49875 | 2016-09-23 08:44 | 2.5148 | 2.5501 | 2016-09-23 08:45 | 2.4938 | 2.5281 | 2016-09-23 08:46 | 2.4732 | 2.5066 | 2016-09-23 08:44 | 2.5042 | 2.5391 | 2016-09-23 08:46 | 2.4835 | 2.5173 | 0.39932 | 0.12461 | 0.40266 | 0.3937
81.3 | 46.2 | 153.2 | 23 | 8 | 48 | 0 | 9 | 16 | C | 83 | IZO | 76.3021 | 44.7423 | 140.6149 | 277.9 | 292.0989 | 279.4368 | 266.9595 | 276.2182 | 0.41098 | 0.22969 | 0.4143 | 0.10533 | 0.41761 | 0.49952 | 2016-09-23 08:48 | 2.4332 | 2.4646 | 2016-09-23 08:49 | 2.4137 | 2.4443 | 2016-09-23 08:50 | 2.3946 | 2.4243 | 2016-09-23 08:49 | 2.4234 | 2.4544 | 2016-09-23 08:50 | 2.4041 | 2.4342 | 0.41264 | 0.12435 | 0.41596 | 0.39418
78.8 | 44.9 | 148.9 | 23 | 8 | 52 | 0 | 9 | 16 | C | 83 | IZO | 74.0026 | 43.4902 | 136.4484 | 278.4131 | 293.8542 | 279.808 | 266.5065 | 276.2411 | 0.42421 | 0.23011 | 0.4275 | 0.10597 | 0.43079 | 0.50018 | 2016-09-23 08:52 | 2.3573 | 2.3854 | 2016-09-23 08:53 | 2.3392 | 2.3665 | 2016-09-23 08:54 | 2.3213 | 2.3479 | 2016-09-23 08:52 | 2.3482 | 2.3759 | 2016-09-23 08:54 | 2.3302 | 2.3571 | 0.42586 | 0.12414 | 0.42915 | 0.39421
76.5 | 43.6 | 144.9 | 23 | 8 | 56 | 0 | 9 | 16 | C | 83 | IZO | 71.8838 | 42.2328 | 132.6131 | 279.0434 | 294.4791 | 280.3014 | 267.1371 | 276.7025 | 0.43733 | 0.23063 | 0.4406 | 0.10619 | 0.44385 | 0.50106 | 2016-09-23 08:56 | 2.2866 | 2.3117 | 2016-09-23 08:57 | 2.2696 | 2.2941 | 2016-09-23 08:58 | 2.253 | 2.2768 | 2016-09-23 08:56 | 2.2781 | 2.3029 | 2016-09-23 08:58 | 2.2613 | 2.2854 | 0.43897 | 0.12444 | 0.44223 | 0.39487
74.3 | 42.4 | 141.1 | 23 | 9 | 0 | 0 | 9 | 16 | C | 83 | IZO | 69.8564 | 41.0671 | 128.9852 | 279.3942 | 295.1956 | 280.6762 | 267.2012 | 276.9921 | 0.45034 | 0.23092 | 0.45358 | 0.10645 | 0.4568 | 0.50173 | 2016-09-23 09:00 | 2.2205 | 2.2431 | 2016-09-23 09:01 | 2.2047 | 2.2267 | 2016-09-23 09:02 | 2.1891 | 2.2105 | 2016-09-23 09:00 | 2.2126 | 2.2348 | 2016-09-23 09:02 | 2.1969 | 2.2186 | 0.45196 | 0.12447 | 0.45519 | 0.39528
72.3 | 41.2 | 137.2 | 23 | 9 | 4 | 0 | 9 | 16 | C | 83 | IZO | 68.0133 | 39.8963 | 125.2689 | 280.0343 | 294.8577 | 280.2044 | 268.5953 | 276.4875 | 0.46323 | 0.23145 | 0.46644 | 0.10633 | 0.46963 | 0.50089 | 2016-09-23 09:04 | 2.1587 | 2.179 | 2016-09-23 09:05 | 2.1439 | 2.1637 | 2016-09-23 09:06 | 2.1293 | 2.1486 | 2016-09-23 09:05 | 2.1513 | 2.1713 | 2016-09-23 09:06 | 2.1366 | 2.1561 | 0.46484 | 0.12512 | 0.46804 | 0.39456
70.3 | 40.2 | 133.9 | 23 | 9 | 8 | 0 | 9 | 16 | C | 83 | IZO | 66.1714 | 38.9166 | 122.1184 | 280.0001 | 296.0744 | 280.6365 | 267.5901 | 276.7221 | 0.476 | 0.23142 | 0.47917 | 0.10677 | 0.48234 | 0.50166 | 2016-09-23 09:08 | 2.1008 | 2.1192 | 2016-09-23 09:09 | 2.0869 | 2.1048 | 2016-09-23 09:10 | 2.0732 | 2.0907 | 2016-09-23 09:08 | 2.0939 | 2.112 | 2016-09-23 09:10 | 2.0801 | 2.0977 | 0.47759 | 0.12465 | 0.48075 | 0.39489
68.3 | 39.2 | 130.7 | 23 | 9 | 12 | 0 | 9 | 16 | C | 83 | IZO | 64.3304 | 37.9329 | 119.0595 | 279.2952 | 296.3946 | 280.7835 | 266.0894 | 276.8262 | 0.48864 | 0.23084 | 0.49178 | 0.10688 | 0.4949 | 0.50192 | 2016-09-23 09:12 | 2.0465 | 2.0631 | 2016-09-23 09:13 | 2.0334 | 2.0496 | 2016-09-23 09:14 | 2.0206 | 2.0364 | 2016-09-23 09:12 | 2.04 | 2.0563 | 2016-09-23 09:14 | 2.027 | 2.043 | 0.49021 | 0.12396 | 0.49334 | 0.39504
66.6 | 38.1 | 127.4 | 23 | 9 | 16 | 0 | 9 | 16 | C | 83 | IZO | 62.764 | 36.8462 | 115.9123 | 279.5854 | 294.4357 | 280.158 | 268.1182 | 276.5383 | 0.50114 | 0.23108 | 0.50424 | 0.10618 | 0.50734 | 0.5008 | 2016-09-23 09:16 | 1.9955 | 2.0105 | 2016-09-23 09:17 | 1.9832 | 1.9978 | 2016-09-23 09:18 | 1.9711 | 1.9854 | 2016-09-23 09:16 | 1.9893 | 2.0041 | 2016-09-23 09:18 | 1.9771 | 1.9916 | 0.50269 | 0.1249 | 0.50579 | 0.39463
55.9 | 32 | 108.2 | 23 | 9 | 48 | 0 | 9 | 16 | C | 83 | IZO | 52.8351 | 30.7529 | 97.8487 | 280.1802 | 290.3285 | 280.4773 | 272.3417 | 277.9798 | 0.59574 | 0.23157 | 0.59853 | 0.1047 | 0.60131 | 0.50138 | 2016-09-23 09:48 | 1.6786 | 1.6858 | 2016-09-23 09:49 | 1.6708 | 1.6779 | 2016-09-23 09:50 | 1.663 | 1.67 | 2016-09-23 09:48 | 1.6747 | 1.6818 | 2016-09-23 09:50 | 1.6669 | 1.6739 | 0.59714 | 0.12687 | 0.59992 | 0.39668
54.8 | 31.6 | 106 | 23 | 9 | 52 | 0 | 9 | 16 | C | 83 | IZO | 51.8062 | 30.3501 | 95.8032 | 279.7396 | 292.9952 | 279.5029 | 269.4951 | 276.0855 | 0.60683 | 0.23121 | 0.60957 | 0.10566 | 0.6123 | 0.49963 | 2016-09-23 09:52 | 1.6479 | 1.6546 | 2016-09-23 09:53 | 1.6405 | 1.647 | 2016-09-23 09:54 | 1.6332 | 1.6396 | 2016-09-23 09:52 | 1.6442 | 1.6508 | 2016-09-23 09:54 | 1.6368 | 1.6433 | 0.6082 | 0.12555 | 0.61094 | 0.39398
53.7 | 31.1 | 104.2 | 23 | 9 | 56 | 0 | 9 | 16 | C | 83 | IZO | 50.7743 | 29.8459 | 94.1251 | 278.8901 | 293.5191 | 279.4623 | 267.5816 | 275.9026 | 0.61773 | 0.2305 | 0.62043 | 0.10585 | 0.62312 | 0.49956 | 2016-09-23 09:56 | 1.6188 | 1.625 | 2016-09-23 09:57 | 1.6118 | 1.6178 | 2016-09-23 09:58 | 1.6048 | 1.6107 | 2016-09-23 09:56 | 1.6153 | 1.6214 | 2016-09-23 09:58 | 1.6083 | 1.6142 | 0.61908 | 0.12466 | 0.62178 | 0.39371
52.8 | 30.6 | 102.6 | 23 | 10 | 0 | 0 | 9 | 16 | C | 83 | IZO | 49.9274 | 29.3411 | 92.6265 | 279.0634 | 293.5742 | 279.7595 | 267.8458 | 276.2611 | 0.62846 | 0.23065 | 0.63111 | 0.10587 | 0.63375 | 0.50009 | 2016-09-23 10:00 | 1.5912 | 1.5968 | 2016-09-23 10:01 | 1.5845 | 1.59 | 2016-09-23 10:02 | 1.5779 | 1.5833 | 2016-09-23 10:00 | 1.5878 | 1.5934 | 2016-09-23 10:02 | 1.5812 | 1.5867 | 0.62979 | 0.12478 | 0.63243 | 0.39423
52.2 | 30 | 100.9 | 23 | 10 | 4 | 0 | 9 | 16 | C | 83 | IZO | 49.3615 | 28.7342 | 91.0297 | 281.0774 | 291.3631 | 279.4283 | 273.1295 | 276.4053 | 0.639 | 0.23231 | 0.6416 | 0.10507 | 0.6442 | 0.4995 | 2016-09-23 10:04 | 1.565 | 1.5701 | 2016-09-23 10:05 | 1.5586 | 1.5637 | 2016-09-23 10:06 | 1.5523 | 1.5573 | 2016-09-23 10:04 | 1.5618 | 1.5669 | 2016-09-23 10:06 | 1.5554 | 1.5605 | 0.6403 | 0.12724 | 0.6429 | 0.39443
51.2 | 29.5 | 99.4 | 23 | 10 | 8 | 0 | 9 | 16 | C | 83 | IZO | 48.4169 | 28.2276 | 89.6188 | 279.8595 | 290.4597 | 279.4951 | 271.6675 | 276.7174 | 0.64935 | 0.2313 | 0.65191 | 0.10474 | 0.65445 | 0.49962 | 2016-09-23 10:08 | 1.54 | 1.5448 | 2016-09-23 10:09 | 1.534 | 1.5387 | 2016-09-23 10:10 | 1.528 | 1.5326 | 2016-09-23 10:08 | 1.537 | 1.5417 | 2016-09-23 10:10 | 1.531 | 1.5356 | 0.65063 | 0.12656 | 0.65318 | 0.39488
50.4 | 29.1 | 98 | 23 | 10 | 12 | 0 | 9 | 16 | C | 83 | IZO | 47.6599 | 27.8217 | 88.3018 | 279.7891 | 290.9643 | 279.6524 | 271.1515 | 276.7872 | 0.65951 | 0.23125 | 0.66202 | 0.10492 | 0.66451 | 0.4999 | 2016-09-23 10:12 | 1.5163 | 1.5207 | 2016-09-23 10:13 | 1.5105 | 1.5149 | 2016-09-23 10:14 | 1.5049 | 1.5091 | 2016-09-23 10:12 | 1.5134 | 1.5178 | 2016-09-23 10:14 | 1.5077 | 1.512 | 0.66076 | 0.12632 | 0.66327 | 0.39498
49.8 | 28.8 | 96.7 | 23 | 10 | 16 | 0 | 9 | 16 | C | 83 | IZO | 47.091 | 27.5169 | 87.0792 | 280.9451 | 292.9728 | 279.9211 | 271.647 | 276.6164 | 0.66947 | 0.2322 | 0.67193 | 0.10565 | 0.67438 | 0.50038 | 2016-09-23 10:16 | 1.4937 | 1.4978 | 2016-09-23 10:17 | 1.4883 | 1.4922 | 2016-09-23 10:18 | 1.4829 | 1.4868 | 2016-09-23 10:16 | 1.491 | 1.495 | 2016-09-23 10:18 | 1.4855 | 1.4895 | 0.6707 | 0.12655 | 0.67315 | 0.39473
49.1 | 28.4 | 95.4 | 23 | 10 | 20 | 0 | 9 | 16 | C | 83 | IZO | 46.4261 | 27.1099 | 85.8547 | 281.0608 | 292.7302 | 279.9509 | 272.0396 | 276.7152 | 0.67923 | 0.2323 | 0.68164 | 0.10556 | 0.68404 | 0.50043 | 2016-09-23 10:20 | 1.4722 | 1.476 | 2016-09-23 10:21 | 1.467 | 1.4707 | 2016-09-23 10:22 | 1.4619 | 1.4655 | 2016-09-23 10:20 | 1.4696 | 1.4734 | 2016-09-23 10:22 | 1.4645 | 1.4681 | 0.68044 | 0.12674 | 0.68284 | 0.39487
48.2 | 28.1 | 94.4 | 23 | 10 | 24 | 0 | 9 | 16 | C | 83 | IZO | 45.5687 | 26.8043 | 84.9124 | 279.303 | 294.0578 | 280.8458 | 267.8932 | 277.5009 | 0.68879 | 0.23084 | 0.69115 | 0.10604 | 0.6935 | 0.50203 | 2016-09-23 10:24 | 1.4518 | 1.4553 | 2016-09-23 10:25 | 1.4469 | 1.4503 | 2016-09-23 10:26 | 1.442 | 1.4453 | 2016-09-23 10:24 | 1.4493 | 1.4528 | 2016-09-23 10:25 | 1.4444 | 1.4478 | 0.68998 | 0.1248 | 0.69233 | 0.39599
47.7 | 27.7 | 93.3 | 23 | 10 | 28 | 0 | 9 | 16 | C | 83 | IZO | 45.0911 | 26.3963 | 83.8767 | 280.4424 | 293.0815 | 281.1761 | 270.6698 | 278.1615 | 0.69815 | 0.23179 | 0.70046 | 0.10569 | 0.70275 | 0.50262 | 2016-09-23 10:28 | 1.4324 | 1.4356 | 2016-09-23 10:29 | 1.4276 | 1.4308 | 2016-09-23 10:30 | 1.423 | 1.4261 | 2016-09-23 10:28 | 1.43 | 1.4332 | 2016-09-23 10:30 | 1.4253 | 1.4284 | 0.69931 | 0.1261 | 0.70161 | 0.39694
47.3 | 27.5 | 92 | 23 | 10 | 32 | 0 | 9 | 16 | C | 83 | IZO | 44.7083 | 26.1921 | 82.6554 | 282.1713 | 295.7514 | 280.5625 | 271.6699 | 276.7182 | 0.7073 | 0.23322 | 0.70955 | 0.10665 | 0.71179 | 0.50153 | 2016-09-23 10:32 | 1.4138 | 1.4168 | 2016-09-23 10:33 | 1.4093 | 1.4122 | 2016-09-23 10:34 | 1.4049 | 1.4077 | 2016-09-23 10:32 | 1.4116 | 1.4145 | 2016-09-23 10:34 | 1.4071 | 1.41 | 0.70843 | 0.12656 | 0.71067 | 0.39488
46.4 | 27.1 | 90.9 | 23 | 10 | 36 | 0 | 9 | 16 | C | 83 | IZO | 43.8444 | 25.7832 | 81.6257 | 279.5318 | 294.0862 | 280.5003 | 268.2758 | 277.0612 | 0.71623 | 0.23103 | 0.71843 | 0.10605 | 0.72062 | 0.50142 | 2016-09-23 10:36 | 1.3962 | 1.3989 | 2016-09-23 10:37 | 1.3919 | 1.3946 | 2016-09-23 10:38 | 1.3877 | 1.3903 | 2016-09-23 10:36 | 1.394 | 1.3968 | 2016-09-23 10:38 | 1.3898 | 1.3924 | 0.71734 | 0.12498 | 0.71953 | 0.39537
45.9 | 26.9 | 90 | 23 | 10 | 40 | 0 | 9 | 16 | C | 83 | IZO | 43.3628 | 25.5786 | 80.7857 | 279.9474 | 296.1844 | 281.0126 | 267.3888 | 277.1729 | 0.72496 | 0.23138 | 0.7271 | 0.10681 | 0.72924 | 0.50233 | 2016-09-23 10:40 | 1.3794 | 1.3819 | 2016-09-23 10:41 | 1.3753 | 1.3778 | 2016-09-23 10:42 | 1.3713 | 1.3737 | 2016-09-23 10:40 | 1.3774 | 1.3799 | 2016-09-23 10:41 | 1.3733 | 1.3758 | 0.72603 | 0.12457 | 0.72817 | 0.39552
45.3 | 26.6 | 88.9 | 23 | 10 | 44 | 0 | 9 | 16 | C | 83 | IZO | 42.7839 | 25.2713 | 79.7613 | 279.2837 | 295.9366 | 280.5852 | 266.4029 | 276.7002 | 0.73346 | 0.23083 | 0.73555 | 0.10672 | 0.73763 | 0.50157 | 2016-09-23 10:44 | 1.3634 | 1.3657 | 2016-09-23 10:45 | 1.3595 | 1.3618 | 2016-09-23 10:46 | 1.3557 | 1.3579 | 2016-09-23 10:44 | 1.3615 | 1.3638 | 2016-09-23 10:46 | 1.3576 | 1.3599 | 0.73451 | 0.12411 | 0.73659 | 0.39485
44.8 | 26.4 | 87.8 | 23 | 10 | 48 | 0 | 9 | 16 | C | 83 | IZO | 42.3005 | 25.0663 | 78.7391 | 279.2455 | 297.4993 | 279.9725 | 265.1251 | 275.5378 | 0.74174 | 0.2308 | 0.74378 | 0.10728 | 0.7458 | 0.50047 | 2016-09-23 10:48 | 1.3482 | 1.3503 | 2016-09-23 10:49 | 1.3445 | 1.3466 | 2016-09-23 10:50 | 1.3408 | 1.3429 | 2016-09-23 10:48 | 1.3463 | 1.3485 | 2016-09-23 10:50 | 1.3427 | 1.3447 | 0.74276 | 0.12352 | 0.74479 | 0.39319
44.5 | 26.1 | 86.9 | 23 | 10 | 52 | 0 | 9 | 16 | C | 83 | IZO | 42.0101 | 24.7586 | 77.9039 | 280.7472 | 296.6708 | 279.9574 | 268.4303 | 275.7284 | 0.74981 | 0.23204 | 0.75179 | 0.10698 | 0.75375 | 0.50045 | 2016-09-23 10:52 | 1.3337 | 1.3357 | 2016-09-23 10:53 | 1.3302 | 1.3321 | 2016-09-23 10:54 | 1.3267 | 1.3286 | 2016-09-23 10:52 | 1.3319 | 1.3339 | 2016-09-23 10:54 | 1.3284 | 1.3304 | 0.7508 | 0.12506 | 0.75277 | 0.39346
44 | 25.8 | 86.2 | 23 | 10 | 56 | 0 | 9 | 16 | C | 83 | IZO | 41.5253 | 24.4505 | 77.2549 | 280.2964 | 295.5449 | 280.5631 | 268.5019 | 276.7718 | 0.75764 | 0.23167 | 0.75957 | 0.10658 | 0.76148 | 0.50153 | 2016-09-23 10:56 | 1.3199 | 1.3217 | 2016-09-23 10:57 | 1.3165 | 1.3183 | 2016-09-23 10:58 | 1.3132 | 1.315 | 2016-09-23 10:56 | 1.3182 | 1.32 | 2016-09-23 10:57 | 1.3149 | 1.3167 | 0.75861 | 0.12509 | 0.76052 | 0.39495
43.5 | 25.5 | 85.1 | 23 | 11 | 0 | 0 | 9 | 16 | C | 83 | IZO | 41.0396 | 24.1421 | 76.2357 | 279.6313 | 294.1254 | 279.4217 | 268.4203 | 275.7008 | 0.76525 | 0.23112 | 0.76712 | 0.10606 | 0.76897 | 0.49949 | 2016-09-23 11:00 | 1.3068 | 1.3085 | 2016-09-23 11:01 | 1.3036 | 1.3052 | 2016-09-23 11:02 | 1.3004 | 1.3021 | 2016-09-23 11:01 | 1.3052 | 1.3068 | 2016-09-23 11:02 | 1.302 | 1.3037 | 0.76619 | 0.12505 | 0.76805 | 0.39342
43.2 | 25.3 | 84.2 | 23 | 11 | 4 | 0 | 9 | 16 | C | 83 | IZO | 40.7477 | 23.9364 | 75.4025 | 280.5751 | 294.627 | 278.9051 | 269.7062 | 274.927 | 0.77263 | 0.2319 | 0.77444 | 0.10625 | 0.77623 | 0.49856 | 2016-09-23 11:04 | 1.2943 | 1.2958 | 2016-09-23 11:05 | 1.2913 | 1.2928 | 2016-09-23 11:06 | 1.2883 | 1.2898 | 2016-09-23 11:04 | 1.2928 | 1.2943 | 2016-09-23 11:06 | 1.2898 | 1.2913 | 0.77354 | 0.12565 | 0.77534 | 0.39232
42.9 | 24.9 | 83.6 | 23 | 11 | 8 | 0 | 9 | 16 | C | 83 | IZO | 40.4554 | 23.5245 | 74.848 | 281.349 | 290.4232 | 279.4443 | 274.3329 | 276.6648 | 0.77978 | 0.23254 | 0.78153 | 0.10473 | 0.78326 | 0.49953 | 2016-09-23 11:08 | 1.2824 | 1.2839 | 2016-09-23 11:09 | 1.2795 | 1.281 | 2016-09-23 11:10 | 1.2767 | 1.2781 | 2016-09-23 11:08 | 1.281 | 1.2824 | 2016-09-23 11:10 | 1.2781 | 1.2795 | 0.78065 | 0.12781 | 0.7824 | 0.3948
42.5 | 24.8 | 83 | 23 | 11 | 12 | 0 | 9 | 16 | C | 83 | IZO | 40.0652 | 23.4215 | 74.2942 | 281.025 | 292.6571 | 279.8445 | 272.0288 | 276.6017 | 0.78669 | 0.23227 | 0.78838 | 0.10554 | 0.79005 | 0.50024 | 2016-09-23 11:12 | 1.2712 | 1.2725 | 2016-09-23 11:13 | 1.2684 | 1.2697 | 2016-09-23 11:14 | 1.2657 | 1.267 | 2016-09-23 11:12 | 1.2698 | 1.2711 | 2016-09-23 11:13 | 1.2671 | 1.2684 | 0.78753 | 0.12673 | 0.78922 | 0.39471
42 | 24.7 | 82.4 | 23 | 11 | 16 | 0 | 9 | 16 | C | 83 | IZO | 39.5764 | 23.3184 | 73.7408 | 279.5758 | 294.6966 | 280.1062 | 267.879 | 276.4142 | 0.79336 | 0.23107 | 0.79499 | 0.10627 | 0.79661 | 0.50071 | 2016-09-23 11:16 | 1.2605 | 1.2617 | 2016-09-23 11:17 | 1.2579 | 1.2591 | 2016-09-23 11:18 | 1.2553 | 1.2565 | 2016-09-23 11:17 | 1.2592 | 1.2604 | 2016-09-23 11:18 | 1.2566 | 1.2578 | 0.79418 | 0.1248 | 0.7958 | 0.39444

## IdD083_star
This Page uses the lamp tests and the langley plot results in the limited mu range from sheet IdD083 | [21 empty] | the correction values from ID083 are applied to the NC
Dobson 083 at IZO 2016.Sep.23 Langley Plot Results | [15 empty] | 109
SLC083Na | -0.9 | SLC083Nc | -0.7 | [9 empty] | SLC083Nd | -0.7
D083 LP adj. A:-0.87 C:-0.53 D:-0.57 Nad:-0.30 | [20 empty] | LPC_C_83 |  | LPC_D_83 |  | LPC_A_83
[15 empty] | 278.2602 | 296.7741 | 280.1657 | 263.9767 | 275.9509 | All Obs | -0.53006 |  | -0.56981 |  | -0.86663 | -0.29682 | 0.039748
D083RC | D083RD | D083RA | day | h | m | s | m | year |  |  |  | D083NC | D083ND | D083NA | D083_TO3_C* | D083_TO3_D* | D083_TO3_A* | D083_TO3_CD* | D083_TO3_AD* | 1/mu.C | P*C_83 | 1/Mu.D | P*D_83 | 1/Mu.A | P*A_83 | lst.C | Mu.C | AirM.C | lst.D | Mu.D | AirM.D | lst.A | Mu.A | AirM.A | lst.CD | Mu.CD | AirM.CD | lst.AD | Mu.AD | AirM.AD
135.9 | 78.2 | 244.1 | 23 | 8 | 0 | 0 | 9 | 16 | C | 83 | IZO | 126.91 | 74.6306 | 231.0793 | 274.2169 | 289.2828 | 277.4139 | 262.8016 | 274.3334 | 0.24671 | 0.22664 | 0.25017 | 0.10432 | 0.25363 | 0.4959 | 2016-09-23 08:00 | 4.0533 | 4.2309 | 2016-09-23 08:01 | 3.9973 | 4.1668 | 2016-09-23 08:02 | 3.9427 | 4.1047 | 2016-09-23 08:01 | 4.0251 | 4.1986 | 2016-09-23 08:02 | 3.9698 | 4.1356
129.1 | 73.5 | 232.5 | 23 | 8 | 4 | 0 | 9 | 16 | C | 83 | IZO | 120.5178 | 70.3268 | 219.1273 | 275.8486 | 287.5345 | 277.6744 | 267.0101 | 275.114 | 0.26056 | 0.22799 | 0.26402 | 0.10369 | 0.26749 | 0.49636 | 2016-09-23 08:04 | 3.8379 | 3.9861 | 2016-09-23 08:05 | 3.7875 | 3.9293 | 2016-09-23 08:06 | 3.7385 | 3.8742 | 2016-09-23 08:04 | 3.8126 | 3.9575 | 2016-09-23 08:06 | 3.7628 | 3.9016
122.5 | 69.7 | 222.1 | 23 | 8 | 8 | 0 | 9 | 16 | C | 83 | IZO | 114.368 | 66.8576 | 208.5893 | 276.0855 | 288.7632 | 278.2818 | 266.4478 | 275.5743 | 0.27442 | 0.22819 | 0.27789 | 0.10413 | 0.28136 | 0.49745 | 2016-09-23 08:08 | 3.644 | 3.7687 | 2016-09-23 08:09 | 3.5985 | 3.7181 | 2016-09-23 08:10 | 3.5542 | 3.669 | 2016-09-23 08:08 | 3.6211 | 3.7432 | 2016-09-23 08:10 | 3.5762 | 3.6934
116.4 | 66.3 | 212.4 | 23 | 8 | 12 | 0 | 9 | 16 | C | 83 | IZO | 108.7015 | 63.7575 | 198.8998 | 275.8783 | 290.1651 | 278.6175 | 264.9699 | 275.6486 | 0.28829 | 0.22801 | 0.29175 | 0.10464 | 0.29522 | 0.49805 | 2016-09-23 08:12 | 3.4688 | 3.5746 | 2016-09-23 08:13 | 3.4276 | 3.5292 | 2016-09-23 08:14 | 3.3874 | 3.4851 | 2016-09-23 08:12 | 3.448 | 3.5518 | 2016-09-23 08:13 | 3.4073 | 3.507
111.3 | 63.2 | 203.6 | 23 | 8 | 16 | 0 | 9 | 16 | C | 83 | IZO | 103.9795 | 60.9159 | 190.1937 | 277.149 | 291.2284 | 279.1031 | 266.3804 | 275.9947 | 0.30214 | 0.22906 | 0.3056 | 0.10502 | 0.30905 | 0.49892 | 2016-09-23 08:16 | 3.3098 | 3.4002 | 2016-09-23 08:17 | 3.2723 | 3.3594 | 2016-09-23 08:18 | 3.2357 | 3.3196 | 2016-09-23 08:17 | 3.2909 | 3.3797 | 2016-09-23 08:18 | 3.2539 | 3.3393
106.2 | 60.4 | 195.1 | 23 | 8 | 20 | 0 | 9 | 16 | C | 83 | IZO | 99.2531 | 58.3385 | 181.8266 | 276.7405 | 292.3067 | 278.7978 | 264.8042 | 275.3451 | 0.31596 | 0.22873 | 0.31941 | 0.10541 | 0.32285 | 0.49837 | 2016-09-23 08:20 | 3.165 | 3.2428 | 2016-09-23 08:21 | 3.1308 | 3.2059 | 2016-09-23 08:22 | 3.0974 | 3.1698 | 2016-09-23 08:20 | 3.1478 | 3.2242 | 2016-09-23 08:22 | 3.114 | 3.1877
101.7 | 57.8 | 187.4 | 23 | 8 | 24 | 0 | 9 | 16 | C | 83 | IZO | 95.0729 | 55.9325 | 174.2402 | 276.8468 | 292.8487 | 278.6086 | 264.5593 | 274.9756 | 0.32973 | 0.22881 | 0.33317 | 0.1056 | 0.3366 | 0.49803 | 2016-09-23 08:24 | 3.0327 | 3.1001 | 2016-09-23 08:25 | 3.0015 | 3.0665 | 2016-09-23 08:26 | 2.9708 | 3.0337 | 2016-09-23 08:24 | 3.017 | 3.0832 | 2016-09-23 08:26 | 2.9861 | 3.05
97.7 | 55.4 | 180.6 | 23 | 8 | 28 | 0 | 9 | 16 | C | 83 | IZO | 91.3543 | 53.7022 | 167.5304 | 277.3896 | 293.0997 | 278.9029 | 265.3162 | 275.2846 | 0.34346 | 0.22926 | 0.34688 | 0.10569 | 0.3503 | 0.49856 | 2016-09-23 08:28 | 2.9116 | 2.9702 | 2016-09-23 08:29 | 2.8828 | 2.9396 | 2016-09-23 08:30 | 2.8547 | 2.9096 | 2016-09-23 08:28 | 2.8971 | 2.9548 | 2016-09-23 08:29 | 2.8687 | 2.9245
93.7 | 53.5 | 174.1 | 23 | 8 | 32 | 0 | 9 | 16 | C | 83 | IZO | 87.6468 | 51.9265 | 161.1711 | 276.6535 | 296.0531 | 278.811 | 261.7144 | 274.4263 | 0.35712 | 0.22865 | 0.36053 | 0.10676 | 0.36393 | 0.4984 | 2016-09-23 08:32 | 2.8002 | 2.8515 | 2016-09-23 08:33 | 2.7737 | 2.8234 | 2016-09-23 08:34 | 2.7478 | 2.7959 | 2016-09-23 08:33 | 2.7869 | 2.8374 | 2016-09-23 08:34 | 2.7607 | 2.8096
90.2 | 51.6 | 168.2 | 23 | 8 | 36 | 0 | 9 | 16 | C | 83 | IZO | 84.4031 | 50.1383 | 155.4036 | 276.6784 | 297.3868 | 278.9245 | 260.7178 | 274.2341 | 0.37071 | 0.22868 | 0.3741 | 0.10724 | 0.37748 | 0.4986 | 2016-09-23 08:36 | 2.6975 | 2.7426 | 2016-09-23 08:37 | 2.6731 | 2.7168 | 2016-09-23 08:38 | 2.6491 | 2.6915 | 2016-09-23 08:36 | 2.6852 | 2.7297 | 2016-09-23 08:38 | 2.6611 | 2.7041
87 | 49.7 | 162.7 | 23 | 8 | 40 | 0 | 9 | 16 | C | 83 | IZO | 81.4352 | 48.3393 | 150.0205 | 276.8217 | 297.1111 | 278.9261 | 261.1785 | 274.3081 | 0.38423 | 0.22879 | 0.38759 | 0.10714 | 0.39095 | 0.4986 | 2016-09-23 08:40 | 2.6026 | 2.6425 | 2016-09-23 08:41 | 2.58 | 2.6187 | 2016-09-23 08:42 | 2.5579 | 2.5954 | 2016-09-23 08:40 | 2.5913 | 2.6305 | 2016-09-23 08:42 | 2.5689 | 2.607
84.1 | 47.7 | 157.8 | 23 | 8 | 44 | 0 | 9 | 16 | C | 83 | IZO | 78.7546 | 46.4336 | 145.2572 | 277.2793 | 294.1548 | 279.438 | 264.2724 | 275.6984 | 0.39765 | 0.22917 | 0.40099 | 0.10608 | 0.40433 | 0.49952 | 2016-09-23 08:44 | 2.5148 | 2.5501 | 2016-09-23 08:45 | 2.4938 | 2.5281 | 2016-09-23 08:46 | 2.4732 | 2.5066 | 2016-09-23 08:44 | 2.5042 | 2.5391 | 2016-09-23 08:46 | 2.4835 | 2.5173
81.3 | 46.2 | 153.2 | 23 | 8 | 48 | 0 | 9 | 16 | C | 83 | IZO | 76.1778 | 44.9956 | 140.8035 | 277.282 | 295.009 | 279.8775 | 263.6105 | 276.0348 | 0.41098 | 0.22917 | 0.4143 | 0.10638 | 0.41761 | 0.5003 | 2016-09-23 08:48 | 2.4332 | 2.4646 | 2016-09-23 08:49 | 2.4137 | 2.4443 | 2016-09-23 08:50 | 2.3946 | 2.4243 | 2016-09-23 08:49 | 2.4234 | 2.4544 | 2016-09-23 08:50 | 2.4041 | 2.4342
78.8 | 44.9 | 148.9 | 23 | 8 | 52 | 0 | 9 | 16 | C | 83 | IZO | 73.8783 | 43.7435 | 136.637 | 277.7752 | 296.8571 | 280.2626 | 263.0505 | 276.0517 | 0.42421 | 0.22958 | 0.4275 | 0.10705 | 0.43079 | 0.50099 | 2016-09-23 08:52 | 2.3573 | 2.3854 | 2016-09-23 08:53 | 2.3392 | 2.3665 | 2016-09-23 08:54 | 2.3213 | 2.3479 | 2016-09-23 08:52 | 2.3482 | 2.3759 | 2016-09-23 08:54 | 2.3302 | 2.3571
76.5 | 43.6 | 144.9 | 23 | 8 | 56 | 0 | 9 | 16 | C | 83 | IZO | 71.7596 | 42.4861 | 132.8017 | 278.3858 | 297.574 | 280.7698 | 263.5749 | 276.5072 | 0.43733 | 0.23009 | 0.4406 | 0.10731 | 0.44385 | 0.5019 | 2016-09-23 08:56 | 2.2866 | 2.3117 | 2016-09-23 08:57 | 2.2696 | 2.2941 | 2016-09-23 08:58 | 2.253 | 2.2768 | 2016-09-23 08:56 | 2.2781 | 2.3029 | 2016-09-23 08:58 | 2.2613 | 2.2854
74.3 | 42.4 | 141.1 | 23 | 9 | 0 | 0 | 9 | 16 | C | 83 | IZO | 69.7321 | 41.3204 | 129.1738 | 278.717 | 298.3816 | 281.1583 | 263.5337 | 276.7909 | 0.45034 | 0.23036 | 0.45358 | 0.1076 | 0.4568 | 0.50259 | 2016-09-23 09:00 | 2.2205 | 2.2431 | 2016-09-23 09:01 | 2.2047 | 2.2267 | 2016-09-23 09:02 | 2.1891 | 2.2105 | 2016-09-23 09:00 | 2.2126 | 2.2348 | 2016-09-23 09:02 | 2.1969 | 2.2186
72.3 | 41.2 | 137.2 | 23 | 9 | 4 | 0 | 9 | 16 | C | 83 | IZO | 67.889 | 40.1496 | 125.4575 | 279.3377 | 298.1341 | 280.7 | 264.8235 | 276.2804 | 0.46323 | 0.23087 | 0.46644 | 0.10751 | 0.46963 | 0.50177 | 2016-09-23 09:04 | 2.1587 | 2.179 | 2016-09-23 09:05 | 2.1439 | 2.1637 | 2016-09-23 09:06 | 2.1293 | 2.1486 | 2016-09-23 09:05 | 2.1513 | 2.1713 | 2016-09-23 09:06 | 2.1366 | 2.1561
70.3 | 40.2 | 133.9 | 23 | 9 | 8 | 0 | 9 | 16 | C | 83 | IZO | 66.0471 | 39.1699 | 122.3071 | 279.2843 | 299.4402 | 281.1455 | 263.715 | 276.5092 | 0.476 | 0.23083 | 0.47917 | 0.10798 | 0.48234 | 0.50257 | 2016-09-23 09:08 | 2.1008 | 2.1192 | 2016-09-23 09:09 | 2.0869 | 2.1048 | 2016-09-23 09:10 | 2.0732 | 2.0907 | 2016-09-23 09:08 | 2.0939 | 2.112 | 2016-09-23 09:10 | 2.0801 | 2.0977
68.3 | 39.2 | 130.7 | 23 | 9 | 12 | 0 | 9 | 16 | C | 83 | IZO | 64.2061 | 38.1862 | 119.2482 | 278.5605 | 299.849 | 281.3058 | 262.1121 | 276.6075 | 0.48864 | 0.23023 | 0.49178 | 0.10813 | 0.4949 | 0.50286 | 2016-09-23 09:12 | 2.0465 | 2.0631 | 2016-09-23 09:13 | 2.0334 | 2.0496 | 2016-09-23 09:14 | 2.0206 | 2.0364 | 2016-09-23 09:12 | 2.04 | 2.0563 | 2016-09-23 09:14 | 2.027 | 2.043
66.6 | 38.1 | 127.4 | 23 | 9 | 16 | 0 | 9 | 16 | C | 83 | IZO | 62.6397 | 37.0995 | 116.1009 | 278.8318 | 297.9776 | 280.6934 | 264.0397 | 276.314 | 0.50114 | 0.23046 | 0.50424 | 0.10745 | 0.50734 | 0.50176 | 2016-09-23 09:16 | 1.9955 | 2.0105 | 2016-09-23 09:17 | 1.9832 | 1.9978 | 2016-09-23 09:18 | 1.9711 | 1.9854 | 2016-09-23 09:16 | 1.9893 | 2.0041 | 2016-09-23 09:18 | 1.9771 | 1.9916
55.9 | 32 | 108.2 | 23 | 9 | 48 | 0 | 9 | 16 | C | 83 | IZO | 52.7108 | 31.0062 | 98.0373 | 279.2844 | 294.5327 | 281.1119 | 267.4982 | 277.7124 | 0.59574 | 0.23083 | 0.59853 | 0.10621 | 0.60131 | 0.50251 | 2016-09-23 09:48 | 1.6786 | 1.6858 | 2016-09-23 09:49 | 1.6708 | 1.6779 | 2016-09-23 09:50 | 1.663 | 1.67 | 2016-09-23 09:48 | 1.6747 | 1.6818 | 2016-09-23 09:50 | 1.6669 | 1.6739
54.8 | 31.6 | 106 | 23 | 9 | 52 | 0 | 9 | 16 | C | 83 | IZO | 51.6819 | 30.6034 | 95.9918 | 278.8271 | 297.2769 | 280.1491 | 264.5621 | 275.813 | 0.60683 | 0.23045 | 0.60957 | 0.1072 | 0.6123 | 0.50079 | 2016-09-23 09:52 | 1.6479 | 1.6546 | 2016-09-23 09:53 | 1.6405 | 1.647 | 2016-09-23 09:54 | 1.6332 | 1.6396 | 2016-09-23 09:52 | 1.6442 | 1.6508 | 2016-09-23 09:54 | 1.6368 | 1.6433
53.7 | 31.1 | 104.2 | 23 | 9 | 56 | 0 | 9 | 16 | C | 83 | IZO | 50.65 | 30.0992 | 94.3137 | 277.9612 | 297.8772 | 280.12 | 262.5604 | 275.6251 | 0.61773 | 0.22974 | 0.62043 | 0.10742 | 0.62312 | 0.50074 | 2016-09-23 09:56 | 1.6188 | 1.625 | 2016-09-23 09:57 | 1.6118 | 1.6178 | 2016-09-23 09:58 | 1.6048 | 1.6107 | 2016-09-23 09:56 | 1.6153 | 1.6214 | 2016-09-23 09:58 | 1.6083 | 1.6142
52.8 | 30.6 | 102.6 | 23 | 10 | 0 | 0 | 9 | 16 | C | 83 | IZO | 49.8031 | 29.5944 | 92.8151 | 278.1184 | 298.0072 | 280.4283 | 262.7379 | 275.9787 | 0.62846 | 0.22987 | 0.63111 | 0.10746 | 0.63375 | 0.50129 | 2016-09-23 10:00 | 1.5912 | 1.5968 | 2016-09-23 10:01 | 1.5845 | 1.59 | 2016-09-23 10:02 | 1.5779 | 1.5833 | 2016-09-23 10:00 | 1.5878 | 1.5934 | 2016-09-23 10:02 | 1.5812 | 1.5867
52.2 | 30 | 100.9 | 23 | 10 | 4 | 0 | 9 | 16 | C | 83 | IZO | 49.2372 | 28.9875 | 91.2184 | 280.1165 | 295.8698 | 280.1082 | 267.9364 | 276.1181 | 0.639 | 0.23152 | 0.6416 | 0.10669 | 0.6442 | 0.50072 | 2016-09-23 10:04 | 1.565 | 1.5701 | 2016-09-23 10:05 | 1.5586 | 1.5637 | 2016-09-23 10:06 | 1.5523 | 1.5573 | 2016-09-23 10:04 | 1.5618 | 1.5669 | 2016-09-23 10:06 | 1.5554 | 1.5605
51.2 | 29.5 | 99.4 | 23 | 10 | 8 | 0 | 9 | 16 | C | 83 | IZO | 48.2926 | 28.4809 | 89.8075 | 278.883 | 295.0388 | 280.1857 | 266.3908 | 276.4254 | 0.64935 | 0.2305 | 0.65191 | 0.10639 | 0.65445 | 0.50085 | 2016-09-23 10:08 | 1.54 | 1.5448 | 2016-09-23 10:09 | 1.534 | 1.5387 | 2016-09-23 10:10 | 1.528 | 1.5326 | 2016-09-23 10:08 | 1.537 | 1.5417 | 2016-09-23 10:10 | 1.531 | 1.5356
50.4 | 29.1 | 98 | 23 | 10 | 12 | 0 | 9 | 16 | C | 83 | IZO | 47.5356 | 28.075 | 88.4904 | 278.7974 | 295.6144 | 280.3537 | 265.7928 | 276.4906 | 0.65951 | 0.23043 | 0.66202 | 0.1066 | 0.66451 | 0.50115 | 2016-09-23 10:12 | 1.5163 | 1.5207 | 2016-09-23 10:13 | 1.5105 | 1.5149 | 2016-09-23 10:14 | 1.5049 | 1.5091 | 2016-09-23 10:12 | 1.5134 | 1.5178 | 2016-09-23 10:14 | 1.5077 | 1.512
49.8 | 28.8 | 96.7 | 23 | 10 | 16 | 0 | 9 | 16 | C | 83 | IZO | 46.9667 | 27.7702 | 87.2678 | 279.9384 | 297.6926 | 280.6328 | 266.2078 | 276.3152 | 0.66947 | 0.23137 | 0.67193 | 0.10735 | 0.67438 | 0.50165 | 2016-09-23 10:16 | 1.4937 | 1.4978 | 2016-09-23 10:17 | 1.4883 | 1.4922 | 2016-09-23 10:18 | 1.4829 | 1.4868 | 2016-09-23 10:16 | 1.491 | 1.495 | 2016-09-23 10:18 | 1.4855 | 1.4895
49.1 | 28.4 | 95.4 | 23 | 10 | 20 | 0 | 9 | 16 | C | 83 | IZO | 46.3018 | 27.3632 | 86.0434 | 280.0394 | 297.5182 | 280.6728 | 266.5215 | 276.4095 | 0.67923 | 0.23145 | 0.68164 | 0.10729 | 0.68404 | 0.50172 | 2016-09-23 10:20 | 1.4722 | 1.476 | 2016-09-23 10:21 | 1.467 | 1.4707 | 2016-09-23 10:22 | 1.4619 | 1.4655 | 2016-09-23 10:20 | 1.4696 | 1.4734 | 2016-09-23 10:22 | 1.4645 | 1.4681
48.2 | 28.1 | 94.4 | 23 | 10 | 24 | 0 | 9 | 16 | C | 83 | IZO | 45.4444 | 27.0576 | 85.1011 | 278.2673 | 298.9126 | 281.5777 | 262.2979 | 277.1909 | 0.68879 | 0.22999 | 0.69115 | 0.10779 | 0.6935 | 0.50334 | 2016-09-23 10:24 | 1.4518 | 1.4553 | 2016-09-23 10:25 | 1.4469 | 1.4503 | 2016-09-23 10:26 | 1.442 | 1.4453 | 2016-09-23 10:24 | 1.4493 | 1.4528 | 2016-09-23 10:25 | 1.4444 | 1.4478
47.7 | 27.7 | 93.3 | 23 | 10 | 28 | 0 | 9 | 16 | C | 83 | IZO | 44.9668 | 26.6496 | 84.0653 | 279.3925 | 298.0016 | 281.9178 | 264.9989 | 277.8472 | 0.69815 | 0.23092 | 0.70046 | 0.10746 | 0.70275 | 0.50395 | 2016-09-23 10:28 | 1.4324 | 1.4356 | 2016-09-23 10:29 | 1.4276 | 1.4308 | 2016-09-23 10:30 | 1.423 | 1.4261 | 2016-09-23 10:28 | 1.43 | 1.4332 | 2016-09-23 10:30 | 1.4253 | 1.4284
47.3 | 27.5 | 92 | 23 | 10 | 32 | 0 | 9 | 16 | C | 83 | IZO | 44.584 | 26.4454 | 82.844 | 281.1077 | 300.7355 | 281.3137 | 265.9252 | 276.3997 | 0.7073 | 0.23234 | 0.70955 | 0.10845 | 0.71179 | 0.50287 | 2016-09-23 10:32 | 1.4138 | 1.4168 | 2016-09-23 10:33 | 1.4093 | 1.4122 | 2016-09-23 10:34 | 1.4049 | 1.4077 | 2016-09-23 10:32 | 1.4116 | 1.4145 | 2016-09-23 10:34 | 1.4071 | 1.41
46.4 | 27.1 | 90.9 | 23 | 10 | 36 | 0 | 9 | 16 | C | 83 | IZO | 43.7201 | 26.0365 | 81.8143 | 278.4547 | 299.1327 | 281.2608 | 262.459 | 276.7386 | 0.71623 | 0.23014 | 0.71843 | 0.10787 | 0.72062 | 0.50278 | 2016-09-23 10:36 | 1.3962 | 1.3989 | 2016-09-23 10:37 | 1.3919 | 1.3946 | 2016-09-23 10:38 | 1.3877 | 1.3903 | 2016-09-23 10:36 | 1.394 | 1.3968 | 2016-09-23 10:38 | 1.3898 | 1.3924
45.9 | 26.9 | 90 | 23 | 10 | 40 | 0 | 9 | 16 | C | 83 | IZO | 43.2385 | 25.8319 | 80.9743 | 278.8572 | 301.2917 | 281.7822 | 261.5016 | 276.8463 | 0.72496 | 0.23048 | 0.7271 | 0.10865 | 0.72924 | 0.50371 | 2016-09-23 10:40 | 1.3794 | 1.3819 | 2016-09-23 10:41 | 1.3753 | 1.3778 | 2016-09-23 10:42 | 1.3713 | 1.3737 | 2016-09-23 10:40 | 1.3774 | 1.3799 | 2016-09-23 10:41 | 1.3733 | 1.3758
45.3 | 26.6 | 88.9 | 23 | 10 | 44 | 0 | 9 | 16 | C | 83 | IZO | 42.6596 | 25.5246 | 79.95 | 278.1808 | 301.1032 | 281.3636 | 260.447 | 276.3697 | 0.73346 | 0.22992 | 0.73555 | 0.10858 | 0.73763 | 0.50296 | 2016-09-23 10:44 | 1.3634 | 1.3657 | 2016-09-23 10:45 | 1.3595 | 1.3618 | 2016-09-23 10:46 | 1.3557 | 1.3579 | 2016-09-23 10:44 | 1.3615 | 1.3638 | 2016-09-23 10:46 | 1.3576 | 1.3599
44.8 | 26.4 | 87.8 | 23 | 10 | 48 | 0 | 9 | 16 | C | 83 | IZO | 42.1763 | 25.3196 | 78.9277 | 278.1301 | 302.7238 | 280.7595 | 259.1025 | 275.2035 | 0.74174 | 0.22988 | 0.74378 | 0.10917 | 0.7458 | 0.50188 | 2016-09-23 10:48 | 1.3482 | 1.3503 | 2016-09-23 10:49 | 1.3445 | 1.3466 | 2016-09-23 10:50 | 1.3408 | 1.3429 | 2016-09-23 10:48 | 1.3463 | 1.3485 | 2016-09-23 10:50 | 1.3427 | 1.3447
44.5 | 26.1 | 86.9 | 23 | 10 | 52 | 0 | 9 | 16 | C | 83 | IZO | 41.8858 | 25.0119 | 78.0926 | 279.6197 | 301.9516 | 280.7528 | 262.3426 | 275.3904 | 0.74981 | 0.23111 | 0.75179 | 0.10889 | 0.75375 | 0.50187 | 2016-09-23 10:52 | 1.3337 | 1.3357 | 2016-09-23 10:53 | 1.3302 | 1.3321 | 2016-09-23 10:54 | 1.3267 | 1.3286 | 2016-09-23 10:52 | 1.3319 | 1.3339 | 2016-09-23 10:54 | 1.3284 | 1.3304
44 | 25.8 | 86.2 | 23 | 10 | 56 | 0 | 9 | 16 | C | 83 | IZO | 41.401 | 24.7038 | 77.4436 | 279.1571 | 300.8802 | 281.3667 | 262.351 | 276.4302 | 0.75764 | 0.23072 | 0.75957 | 0.1085 | 0.76148 | 0.50297 | 2016-09-23 10:56 | 1.3199 | 1.3217 | 2016-09-23 10:57 | 1.3165 | 1.3183 | 2016-09-23 10:58 | 1.3132 | 1.315 | 2016-09-23 10:56 | 1.3182 | 1.32 | 2016-09-23 10:57 | 1.3149 | 1.3167
43.5 | 25.5 | 85.1 | 23 | 11 | 0 | 0 | 9 | 16 | C | 83 | IZO | 40.9153 | 24.3954 | 76.4243 | 278.4805 | 299.5138 | 280.2333 | 262.208 | 275.3557 | 0.76525 | 0.23016 | 0.76712 | 0.10801 | 0.76897 | 0.50094 | 2016-09-23 11:00 | 1.3068 | 1.3085 | 2016-09-23 11:01 | 1.3036 | 1.3052 | 2016-09-23 11:02 | 1.3004 | 1.3021 | 2016-09-23 11:01 | 1.3052 | 1.3068 | 2016-09-23 11:02 | 1.302 | 1.3037
43.2 | 25.3 | 84.2 | 23 | 11 | 4 | 0 | 9 | 16 | C | 83 | IZO | 40.6234 | 24.1897 | 75.5911 | 279.4133 | 300.0668 | 279.7243 | 263.4345 | 274.5785 | 0.77263 | 0.23094 | 0.77444 | 0.10821 | 0.77623 | 0.50003 | 2016-09-23 11:04 | 1.2943 | 1.2958 | 2016-09-23 11:05 | 1.2913 | 1.2928 | 2016-09-23 11:06 | 1.2883 | 1.2898 | 2016-09-23 11:04 | 1.2928 | 1.2943 | 2016-09-23 11:06 | 1.2898 | 1.2913
42.9 | 24.9 | 83.6 | 23 | 11 | 8 | 0 | 9 | 16 | C | 83 | IZO | 40.3311 | 23.7778 | 75.0366 | 280.1765 | 295.9128 | 280.2709 | 268.0036 | 276.313 | 0.77978 | 0.23157 | 0.78153 | 0.10671 | 0.78326 | 0.50101 | 2016-09-23 11:08 | 1.2824 | 1.2839 | 2016-09-23 11:09 | 1.2795 | 1.281 | 2016-09-23 11:10 | 1.2767 | 1.2781 | 2016-09-23 11:08 | 1.281 | 1.2824 | 2016-09-23 11:10 | 1.2781 | 1.2795
42.5 | 24.8 | 83 | 23 | 11 | 12 | 0 | 9 | 16 | C | 83 | IZO | 39.9409 | 23.6748 | 74.4828 | 279.8421 | 298.1949 | 280.6783 | 265.6437 | 276.2467 | 0.78669 | 0.23129 | 0.78838 | 0.10753 | 0.79005 | 0.50173 | 2016-09-23 11:12 | 1.2712 | 1.2725 | 2016-09-23 11:13 | 1.2684 | 1.2697 | 2016-09-23 11:14 | 1.2657 | 1.267 | 2016-09-23 11:12 | 1.2698 | 1.2711 | 2016-09-23 11:13 | 1.2671 | 1.2684
42 | 24.7 | 82.4 | 23 | 11 | 16 | 0 | 9 | 16 | C | 83 | IZO | 39.4521 | 23.5717 | 73.9295 | 278.3828 | 300.2808 | 280.9469 | 261.4402 | 276.0562 | 0.79336 | 0.23008 | 0.79499 | 0.10828 | 0.79661 | 0.50221 | 2016-09-23 11:16 | 1.2605 | 1.2617 | 2016-09-23 11:17 | 1.2579 | 1.2591 | 2016-09-23 11:18 | 1.2553 | 1.2565 | 2016-09-23 11:17 | 1.2592 | 1.2604 | 2016-09-23 11:18 | 1.2566 | 1.2578

## param
-0.9 | 1e-05 |  | -1.9 | 0
0 | 1 |  | -1 | 1
0.9 | 1e-05 |  | 1 | 1
|  |  | 1.9 | 0
304.6 | 1e-07 | 310.55 | 1e-06 | 316.7 | 1e-06 | 323.5 | 1e-06 | 323.1 | 1e-06 | 330.5 | 1e-06 | 338 | 1e-06
305.5 | 1000 | 311.45 | 1000 | 317.6 | 1000 | 324.4 | 1000 | 324 | 1000 | 331.4 | 1000 | 338.9 | 1000
306.4 | 1e-07 | 312.35 | 1e-06 | 318.5 | 1e-06 | 326.4 | 1000 | 326 | 1000 | 333.4 | 1000 | 340.9 | 1000
[6 empty] | 327.3 | 1e-06 | 326.9 | 1e-06 | 334.3 | 1e-06 | 341.8 | 1e-06
1.1111
304.6 | 0.001 | 310.55 | 0.001 | 316.7 | 0.001 | 323.5 | 0 | 323.1 | 0.001 | 330.5 | 0.001 | 338 | 1e-07
305.5 | 100 | 311.45 | 100 | 317.6 | 100 | 324.4 | 100 | 324 | 100 | 331.4 | 100 | 338.9 | 100
306.4 | 0.001 | 312.35 | 0.001 | 318.5 | 0.001 | 326.4 | 100 | 326 | 100 | 333.4 | 100 | 340.9 | 100
[6 empty] | 327.3 | 0 | 326.9 | 0.001 | 334.3 | 0.001 | 341.8 | 1e-07
58 | 0
92 | 0
code | number | name | Dobson | earth_radius | LONG | Hemisphere | degs | min | sec | LAT | Hemisphere | deg | min | sec | TimeZone | stn Pressure | elevation | Ozone_Height | LongRadian | LatRadian
IZO | 999 | Izana Observatory,Spain | 83 | 6373593 | 16.4973 | W | 16 | 29 | 25 | 28.2986 | N | 28 | 17 | 55 | 0 | 770 | 2360 | 26000 | 0.28781 | 0.4939
=IF( C13<90,(earth_radius+Ozone_height)/(SQRT(((earth_radius+Ozone_height)^2)-((earth_radius+Elevation)^2)*(SIN(RADIANS(C13)))^2)),-90000)
Public Function AirMass#(CosZenAng As Double) | [14 empty] | p0 | 0.75993
AirMass# = 1# / (CosZenAng + 0.15 / (90 - RadsToDegs#(ArcCos#(CosZenAng)) + 3.885) ^ 1.253)
End Function
Ozone Absorption and Molecular Scattering coefficients for Use
with Dobson ozone Spectrophotometers Beginning 1 January 1992
Wavelength | ALFA |  | BETA | d(BETA)/d(ALFA) | [5 empty] | IUP Corr-factor | B&BP Corr_factor | D&M |  |  | α_Komhyr r adj
(nm) | (atm-cm)-1 |  | (atm)-1 | (atm-cm/atm) |  |  |  |  | A_ pair | 0.9898 | 0.9969 | 0.9889 |  |  | 1.806
[9 empty] | C_pair | 0.9922 | 0.9983 | 0.9845 |  |  | 0.833
305 | 0.489 | [7 empty] | D_pair | 0.9642 | 0.9825 | 0.9562 |  |  | 0.374
325 | 0.375 | [7 empty] | AD_pair | 0.9965 | 1.0006 | 0.9975 |  |  | 1.432
Alfa_A | 1.7876 | Beta_A | 114 | 63 | 1000 |  |  |  | CD_pair | 1.015 | 1.0112 | 1.0076 |  |  | 0.459
|  |  | 0 | 0
308.9 | 0.466 |  | 0 | 0
329.1 | 0.355 |  | 0 | 0
Alfa_B | 1.192 | Beta_B | 111 | 93
|  |  | 0 | 0
311.5 | 0.45 |  | 0 | 0 |  |  | 5
332.4 | 0.341 |  | 0 | 0
Alfa_C | 0.8265 | Beta_C | 109 | 131
|  |  | 0 | 0
317.5 | 0.414 |  | 0 | 0
339.9 | 0.31 |  | 0 | 0
Alfa_D | 0.36061 | Beta_D | 104 | 278
|  |  | 0 | 0
Alfa_AD | 1.427 | Beta_AD | 10 | 7
Alfa_BD | 0.818 | Beta_BD | 7 | 9
Alfa_CD | 0.46588 | Beta_CD | 5 | 11

## Nfunc083
D83RA | D83NA | D83RC | D83NC | D83RD | D83ND | Rby5 | a | c | d | in pretty print
5 | -1.51 | 5 | 2.18 | 5 | 3.26 | 5 | -1.51 | 2.18 | 3.26 | -1.5 | 2.2 | 3.3 | 0.01 | 0.02 | 0.04
10.74 | 4.7 | 10.76 | 8.39 | 10.72 | 9.62 | 15 | 9.2606 | 12.8971 | 14.1824 | 9.2 | 12.9 | 14.2 | -0.060647 | 0.0029402 | 0.017648
16.48 | 10.83 | 16.51 | 14.49 | 16.44 | 15.7 | 25 | 19.7018 | 23.3471 | 24.6275 | 19.7 | 23.3 | 24.6 | -0.001759 | -0.047139 | -0.027526
22.22 | 16.83 | 22.27 | 20.51 | 22.16 | 21.69 | 35 | 29.9065 | 33.5082 | 34.7616 | 29.9 | 33.5 | 34.8 | -0.0065067 | -0.0081693 | 0.038446
27.96 | 22.74 | 28.02 | 26.46 | 27.88 | 27.58 | 45 | 39.8449 | 43.394 | 44.5867 | 39.8 | 43.4 | 44.6 | -0.044871 | 0.0060056 | 0.013291
33.7 | 28.59 | 33.78 | 32.28 | 33.6 | 33.36 | 55 | 49.3404 | 52.8934 | 54.076 | 49.3 | 52.9 | 54.1 | -0.040402 | 0.0065573 | 0.02402
39.87 | 34.8 | 39.99 | 38.5 | 40.01 | 39.73 | 65 | 58.6907 | 62.1867 | 63.3142 | 58.7 | 62.2 | 63.3 | 0.0093361 | 0.013335 | -0.014152
46.12 | 40.93 | 46.25 | 44.6 | 46.26 | 45.8 | 75 | 67.9965 | 71.4015 | 72.4459 | 68 | 71.4 | 72.4 | 0.0034853 | -0.0015358 | -0.045888
52.43 | 46.93 | 52.58 | 50.62 | 52.56 | 51.79 | 85 | 77.243 | 80.6092 | 81.6241 | 77.2 | 80.6 | 81.6 | -0.043043 | -0.0091746 | -0.024141
58.76 | 52.85 | 58.93 | 56.56 | 58.88 | 57.68 | 95 | 86.5778 | 89.8754 | 90.8361 | 86.6 | 89.9 | 90.8 | 0.022224 | 0.024624 | -0.036083
65.01 | 58.7 | 65.22 | 62.39 | 65.17 | 63.47 | 105 | 95.9718 | 99.1641 | 100.0591 | 96 | 99.2 | 100.1 | 0.028156 | 0.03591 | 0.040888
71.68 | 64.91 | 71.96 | 68.6 | 72.14 | 69.83 | 115 | 105.3164 | 108.4291 | 109.276 | 105.3 | 108.4 | 109.3 | -0.016442 | -0.029128 | 0.024023
78.27 | 71.03 | 78.58 | 74.7 | 78.77 | 75.9 | 125 | 114.7278 | 117.7197 | 118.4987 | 114.7 | 117.7 | 118.5 | -0.027761 | -0.019725 | 0.0013422
84.77 | 77.03 | 85.12 | 80.72 | 85.3 | 81.9 | 135 | 124.2697 | 127.0863 | 127.7279 | 124.3 | 127.1 | 127.7 | 0.030284 | 0.013723 | -0.027928
91.14 | 82.95 | 91.54 | 86.67 | 91.69 | 87.78 | 145 | 133.8086 | 136.5037 | 137.0681 | 133.8 | 136.5 | 137.1 | -0.0086133 | -0.0037106 | 0.031879
97.36 | 88.8 | 97.82 | 92.49 | 97.96 | 93.57 | 155 | 143.4602 | 145.9931 | 146.5049 | 143.5 | 146 | 146.5 | 0.03978 | 0.0069477 | -0.0049043
103.97 | 95.01 | 104.5 | 98.7 | 104.86 | 99.93 | 165 | 153.1836 | 155.5627 | 155.9752 | 153.2 | 155.6 | 156 | 0.016436 | 0.037317 | 0.02477
110.54 | 101.13 | 111.08 | 104.8 | 111.45 | 106.01 | 175 | 162.9608 | 165.2327 | 165.5125 | 163 | 165.2 | 165.5 | 0.039212 | -0.032674 | -0.012494
116.94 | 107.14 | 117.58 | 110.82 | 117.96 | 112 | 185 | 172.7866 | 174.9334 | 175.074 | 172.8 | 174.9 | 175.1 | 0.013394 | -0.033433 | 0.026028
123.23 | 113.05 | 123.98 | 116.77 | 124.34 | 117.89 | 195 | 182.6394 | 184.6057 | 184.6243 | 182.6 | 184.6 | 184.6 | -0.039352 | -0.0057191 | -0.024324
129.38 | 118.9 | 130.22 | 122.59 | 130.61 | 123.67 | 205 | 192.4841 | 194.2836 | 194.1583 | 192.5 | 194.3 | 194.2 | 0.015876 | 0.016413 | 0.041746
135.88 | 125.11 | 136.83 | 128.81 | 137.48 | 130.03 | 215 | 202.4109 | 204.0518 | 203.7711 | 202.4 | 204.1 | 203.8 | -0.010885 | 0.048175 | 0.028851
142.31 | 131.24 | 143.3 | 134.9 | 143.98 | 136.11 | 225 | 212.4107 | 213.9099 | 213.4697 | 212.4 | 213.9 | 213.5 | -0.010729 | -0.0099222 | 0.030315
148.58 | 137.24 | 149.67 | 140.92 | 150.34 | 142.1 | 235 | 222.6125 | 223.9066 | 223.3561 | 222.6 | 223.9 | 223.4 | -0.01248 | -0.0066373 | 0.043946
154.69 | 143.16 | 155.92 | 146.87 | 156.57 | 147.99 | 245 | 232.9094 | 234.043 | 233.3305 | 232.9 | 234 | 233.3 | -0.0094379 | -0.04302 | -0.030472
160.72 | 149 | 162.02 | 152.69 | 162.68 | 153.77 | 255 | 243.0375 | 244.1782 | 243.3484 | 243 | 244.2 | 243.3 | -0.037453 | 0.021839 | -0.048358
167.07 | 155.21 | 168.46 | 158.91 | 169.37 | 160.14 | 265 | 253.2588 | 254.2376 | 253.357 | 253.3 | 254.2 | 253.4 | 0.041246 | -0.037564 | 0.043032
173.34 | 161.34 | 174.77 | 165.01 | 175.73 | 166.21 | 275 | 263.5293 | 264.3569 | 263.3423 | 263.5 | 264.4 | 263.3 | -0.029307 | 0.043099 | -0.042337
179.48 | 167.34 | 180.98 | 171.03 | 181.99 | 172.2 | 285 | 273.6505 | 274.5418 | 273.4295 | 273.7 | 274.5 | 273.4 | 0.049496 | -0.041795 | -0.029511
185.48 | 173.26 | 187.11 | 176.98 | 188.16 | 178.09 |  |  |  |  | 284 | 284.8 | 283.6 | -0.080761 | -0.032459 | 0.10211
191.42 | 179.11 | 193.13 | 182.8 | 194.22 | 183.88
197.72 | 185.32 | 199.56 | 189.01 | 200.89 | 190.24
203.94 | 191.44 | 205.85 | 195.11 | 207.25 | 196.31
210.02 | 197.44 | 212.02 | 201.13 | 213.48 | 202.31
215.95 | 203.36 | 218.08 | 207.08 | 219.6 | 208.2
221.81 | 209.21 | 223.98 | 212.9 | 225.52 | 213.98
227.98 | 215.42 | 230.23 | 219.11 | 231.96 | 220.34
233.97 | 221.55 | 236.29 | 225.21 | 238.08 | 226.42
239.77 | 227.55 | 242.22 | 231.23 | 244.08 | 232.41
245.54 | 233.46 | 248.1 | 237.18 | 249.96 | 238.3
251.31 | 239.31 | 253.83 | 243 | 255.73 | 244.08
257.45 | 245.52 | 260.03 | 249.22 | 262.08 | 250.45
263.44 | 251.65 | 266.07 | 255.32 | 268.18 | 256.52
269.25 | 257.65 | 272.01 | 261.34 | 274.17 | 262.51
275.04 | 263.57 | 277.89 | 267.28 | 280.03 | 268.4
280.82 | 269.42 | 283.59 | 273.11 | 285.75 | 274.19
286.94 | 275.63 | 289.71 | 279.32 | 292.01 | 280.55
292.84 | 281.75 | 295.61 | 285.42 | 298.01 | 286.62
298.49 | 287.75

## comp page
Komyhr adjusted |  |  |  |  | IUP multiply |  |  |  |  | B&P multiply |  |  |  |  | D&M multiply
276.9001 | 282.359 | 276.7145 | 272.4964 | 275.2262 | 279.0769 | 292.8428 | 279.566 | 268.4693 | 276.1929 | 277.3716 | 287.3883 | 277.5749 | 269.4782 | 275.0612 | 281.2596 | 295.2929 | 279.8205 | 270.441 | 275.916
D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD
272.4461 | 277.2321 | 274.3194 | 268.7922 | 273.4816 | 274.5879 | 287.5255 | 277.1463 | 264.8199 | 274.4422 | 272.91 | 282.1701 | 275.1724 | 265.8151 | 273.3176 | 276.7355 | 289.9311 | 277.3985 | 266.7648 | 274.1671
274.0857 | 275.4526 | 274.5627 | 273.1778 | 274.2657 | 276.2404 | 285.6799 | 277.3921 | 269.1407 | 275.229 | 274.5525 | 280.3589 | 275.4165 | 270.1521 | 274.1012 | 278.401 | 288.0701 | 277.6446 | 271.1173 | 274.9531
274.3415 | 276.5434 | 275.1495 | 272.7212 | 274.7307 | 276.4982 | 286.8113 | 277.9849 | 268.6908 | 275.6956 | 274.8087 | 281.4691 | 276.0051 | 269.7005 | 274.5659 | 278.6607 | 289.2109 | 278.2379 | 270.6641 | 275.4192
274.1566 | 277.8012 | 275.4672 | 271.3351 | 274.8109 | 276.3119 | 288.1157 | 278.306 | 267.3252 | 275.7762 | 274.6235 | 282.7493 | 276.3238 | 268.3298 | 274.6461 | 278.473 | 290.5263 | 278.5592 | 269.2885 | 275.4997
275.438 | 278.7327 | 275.9334 | 272.8807 | 275.1621 | 277.6033 | 289.0819 | 278.7769 | 268.848 | 276.1285 | 275.9071 | 283.6974 | 276.7915 | 269.8583 | 274.9971 | 279.7745 | 291.5004 | 279.0307 | 270.8224 | 275.8517
275.0533 | 279.6789 | 275.6168 | 271.3944 | 274.5211 | 277.2156 | 290.0632 | 278.4571 | 267.3836 | 275.4853 | 275.5217 | 284.6605 | 276.4739 | 268.3884 | 274.3565 | 279.3838 | 292.49 | 278.7105 | 269.3474 | 275.2091
275.1794 | 280.1082 | 275.4152 | 271.2592 | 274.1591 | 277.3427 | 290.5084 | 278.2533 | 267.2504 | 275.122 | 275.648 | 285.0974 | 276.2716 | 268.2547 | 273.9947 | 279.5118 | 292.9389 | 278.5066 | 269.2131 | 274.8462
275.7384 | 280.2574 | 275.6921 | 272.1402 | 274.4732 | 277.9061 | 290.6631 | 278.5332 | 268.1185 | 275.4372 | 276.208 | 285.2492 | 276.5494 | 269.126 | 274.3086 | 280.0796 | 293.0949 | 278.7867 | 270.0876 | 275.1611
275.0284 | 283.0127 | 275.587 | 268.5967 | 273.6241 | 277.1905 | 293.5207 | 278.427 | 264.6273 | 274.5852 | 275.4968 | 288.0536 | 276.444 | 265.6217 | 273.4601 | 279.3585 | 295.9764 | 278.6804 | 266.5708 | 274.3099
275.0734 | 284.2067 | 275.6851 | 267.6969 | 273.4387 | 277.2358 | 294.7591 | 278.5261 | 263.7408 | 274.3991 | 275.5418 | 289.2689 | 276.5424 | 264.7319 | 273.2747 | 279.4042 | 297.2252 | 278.7796 | 265.6777 | 274.124
275.2358 | 283.8494 | 275.6726 | 268.2754 | 273.5186 | 277.3995 | 294.3885 | 278.5135 | 264.3108 | 274.4792 | 275.7045 | 288.9053 | 276.5299 | 265.304 | 273.3545 | 279.5691 | 296.8515 | 278.767 | 266.2519 | 274.2041
275.7098 | 280.9082 | 276.1654 | 271.5261 | 274.9101 | 277.8773 | 291.3381 | 279.0113 | 267.5134 | 275.8757 | 276.1793 | 285.9117 | 277.0242 | 268.5187 | 274.7453 | 280.0506 | 293.7756 | 279.2652 | 269.478 | 275.5991
275.7323 | 281.6418 | 276.5866 | 270.9638 | 275.2514 | 277.9 | 292.0989 | 279.4368 | 266.9595 | 276.2182 | 276.2019 | 286.6583 | 277.4467 | 267.9627 | 275.0863 | 280.0735 | 294.5428 | 279.6911 | 268.9201 | 275.9413
276.2415 | 283.3342 | 276.954 | 270.5041 | 275.2742 | 278.4131 | 293.8542 | 279.808 | 266.5065 | 276.2411 | 276.7119 | 288.3809 | 277.8152 | 267.508 | 275.1091 | 280.5906 | 296.3127 | 280.0627 | 268.4638 | 275.9641
276.8669 | 283.9368 | 277.4423 | 271.1442 | 275.734 | 279.0434 | 294.4791 | 280.3014 | 267.1371 | 276.7025 | 277.3384 | 288.9942 | 278.305 | 268.141 | 275.5687 | 281.2259 | 296.9429 | 280.5565 | 269.099 | 276.4251
277.2149 | 284.6276 | 277.8133 | 271.2092 | 276.0226 | 279.3942 | 295.1956 | 280.6762 | 267.2012 | 276.9921 | 277.687 | 289.6973 | 278.6772 | 268.2053 | 275.8571 | 281.5794 | 297.6653 | 280.9317 | 269.1636 | 276.7144
277.85 | 284.3018 | 277.3463 | 272.6242 | 275.5198 | 280.0343 | 294.8577 | 280.2044 | 268.5953 | 276.4875 | 278.3232 | 289.3657 | 278.2088 | 269.6047 | 275.3545 | 282.2245 | 297.3246 | 280.4594 | 270.5679 | 276.2103
277.8161 | 285.4749 | 277.774 | 271.604 | 275.7536 | 280.0001 | 296.0744 | 280.6365 | 267.5901 | 276.7221 | 278.2892 | 290.5597 | 278.6377 | 268.5957 | 275.5882 | 282.19 | 298.5515 | 280.8919 | 269.5553 | 276.4447
277.1167 | 285.7837 | 277.9195 | 270.0807 | 275.8573 | 279.2952 | 296.3946 | 280.7835 | 266.0894 | 276.8262 | 277.5886 | 290.874 | 278.7837 | 267.0893 | 275.6919 | 281.4797 | 298.8744 | 281.0391 | 268.0436 | 276.5486
277.4046 | 283.8949 | 277.3004 | 272.14 | 275.5705 | 279.5854 | 294.4357 | 280.158 | 268.1182 | 276.5383 | 277.877 | 288.9516 | 278.1627 | 269.1258 | 275.4052 | 281.7721 | 296.8991 | 280.413 | 270.0873 | 276.2611
277.9948 | 279.9347 | 277.6165 | 276.4268 | 277.0069 | 280.1802 | 290.3285 | 280.4773 | 272.3417 | 277.9798 | 278.4682 | 284.9208 | 278.4797 | 273.3651 | 276.8408 | 282.3716 | 292.7575 | 280.7326 | 274.3418 | 277.7012
277.5577 | 282.5059 | 276.6519 | 273.5376 | 275.1192 | 279.7396 | 292.9952 | 279.5029 | 269.4951 | 276.0855 | 278.0303 | 287.5378 | 277.5122 | 270.5079 | 274.9543 | 281.9276 | 295.4465 | 279.7572 | 271.4744 | 275.8088
276.7147 | 283.0112 | 276.6118 | 271.5953 | 274.937 | 278.8901 | 293.5191 | 279.4623 | 267.5816 | 275.9026 | 277.186 | 288.0521 | 277.472 | 268.5871 | 274.7721 | 281.0713 | 295.9749 | 279.7167 | 269.5468 | 275.626
276.8867 | 283.0642 | 276.9059 | 271.8635 | 275.2942 | 279.0634 | 293.5742 | 279.7595 | 267.8458 | 276.2611 | 277.3583 | 288.1061 | 277.767 | 268.8523 | 275.1291 | 281.2461 | 296.0304 | 280.0141 | 269.8129 | 275.9842
278.885 | 280.9323 | 276.5782 | 277.2264 | 275.4379 | 281.0774 | 291.3631 | 279.4283 | 273.1295 | 276.4053 | 279.3599 | 285.9361 | 277.4382 | 274.1559 | 275.2727 | 283.2758 | 293.8007 | 279.6826 | 275.1354 | 276.1282
277.6766 | 280.0612 | 276.6442 | 275.7425 | 275.7489 | 279.8595 | 290.4597 | 279.4951 | 271.6675 | 276.7174 | 278.1494 | 285.0496 | 277.5045 | 272.6884 | 275.5835 | 282.0483 | 292.8898 | 279.7494 | 273.6626 | 276.44
277.6068 | 280.5477 | 276.7999 | 275.2188 | 275.8184 | 279.7891 | 290.9643 | 279.6524 | 271.1515 | 276.7872 | 278.0795 | 285.5448 | 277.6607 | 272.1705 | 275.653 | 281.9774 | 293.3986 | 279.9069 | 273.1429 | 276.5097
278.7537 | 282.4844 | 277.0659 | 275.7218 | 275.6483 | 280.9451 | 292.9728 | 279.9211 | 271.647 | 276.6164 | 279.2284 | 287.5159 | 277.9275 | 272.6679 | 275.483 | 283.1424 | 295.424 | 280.1759 | 273.6421 | 276.3391
278.8685 | 282.2504 | 277.0954 | 276.1202 | 275.7467 | 281.0608 | 292.7302 | 279.9509 | 272.0396 | 276.7152 | 279.3434 | 287.2778 | 277.9571 | 273.0619 | 275.5813 | 283.259 | 295.1793 | 280.2057 | 274.0375 | 276.4377
277.1245 | 283.5306 | 277.9812 | 271.9116 | 276.5296 | 279.303 | 294.0578 | 280.8458 | 267.8932 | 277.5009 | 277.5964 | 288.5807 | 278.8456 | 268.8999 | 276.3638 | 281.4875 | 296.518 | 281.1014 | 269.8606 | 277.2227
278.2549 | 282.5891 | 278.3081 | 274.7298 | 277.1879 | 280.4424 | 293.0815 | 281.1761 | 270.6698 | 278.1615 | 278.7287 | 287.6225 | 279.1736 | 271.6869 | 277.0217 | 282.6358 | 295.5335 | 281.432 | 272.6576 | 277.8827
279.9703 | 285.1635 | 277.7008 | 275.7449 | 275.7497 | 282.1713 | 295.7514 | 280.5625 | 271.6699 | 276.7182 | 280.4471 | 290.2428 | 278.5643 | 272.6908 | 275.5844 | 284.3782 | 298.2258 | 280.8178 | 273.665 | 276.4408
277.3514 | 283.5579 | 277.6392 | 272.3 | 276.0915 | 279.5318 | 294.0862 | 280.5003 | 268.2758 | 277.0612 | 277.8237 | 288.6086 | 278.5025 | 269.284 | 275.9259 | 281.718 | 296.5467 | 280.7555 | 270.2461 | 276.7834
277.7638 | 285.581 | 278.1462 | 271.3996 | 276.2028 | 279.9474 | 296.1844 | 281.0126 | 267.3888 | 277.1729 | 278.2368 | 290.6676 | 279.0112 | 268.3936 | 276.0371 | 282.1369 | 298.6624 | 281.2683 | 269.3526 | 276.895
277.1053 | 285.342 | 277.7232 | 270.3989 | 275.7317 | 279.2837 | 295.9366 | 280.5852 | 266.4029 | 276.7002 | 277.5772 | 290.4245 | 278.5868 | 267.404 | 275.5664 | 281.468 | 298.4125 | 280.8405 | 268.3594 | 276.4228
277.0673 | 286.8488 | 277.1167 | 269.102 | 274.5734 | 279.2455 | 297.4993 | 279.9725 | 265.1251 | 275.5378 | 277.5392 | 291.9581 | 277.9785 | 266.1214 | 274.4088 | 281.4295 | 299.9883 | 280.2273 | 267.0723 | 275.2616
278.5574 | 286.05 | 277.1018 | 272.4568 | 274.7633 | 280.7472 | 296.6708 | 279.9574 | 268.4303 | 275.7284 | 279.0318 | 291.1451 | 277.9635 | 269.4391 | 274.5986 | 282.943 | 299.1529 | 280.2122 | 270.4017 | 275.452
278.1101 | 284.9643 | 277.7013 | 272.5294 | 275.8031 | 280.2964 | 295.5449 | 280.5631 | 268.5019 | 276.7718 | 278.5837 | 290.04 | 278.5649 | 269.5109 | 275.6377 | 282.4887 | 298.0175 | 280.8184 | 270.4738 | 276.4943
277.4501 | 283.5957 | 276.5716 | 272.4466 | 274.7359 | 279.6313 | 294.1254 | 279.4217 | 268.4203 | 275.7008 | 277.9226 | 288.6471 | 277.4317 | 269.429 | 274.5711 | 281.8183 | 296.5862 | 279.6761 | 270.3916 | 275.4244
278.3866 | 284.0793 | 276.0603 | 273.7518 | 273.9647 | 280.5751 | 294.627 | 278.9051 | 269.7062 | 274.927 | 278.8607 | 289.1393 | 276.9187 | 270.7198 | 273.8004 | 282.7695 | 297.092 | 279.159 | 271.687 | 274.6514
279.1545 | 280.026 | 276.594 | 278.4479 | 275.6965 | 281.349 | 290.4232 | 279.4443 | 274.3329 | 276.6648 | 279.6299 | 285.0138 | 277.4541 | 275.3638 | 275.5311 | 283.5495 | 292.853 | 279.6986 | 276.3477 | 276.3874
278.833 | 282.18 | 276.9901 | 276.1092 | 275.6336 | 281.025 | 292.6571 | 279.8445 | 272.0288 | 276.6017 | 279.3079 | 287.2061 | 277.8514 | 273.051 | 275.4683 | 283.223 | 295.1056 | 280.0992 | 274.0266 | 276.3244
277.3952 | 284.1464 | 277.2492 | 271.8972 | 275.4468 | 279.5758 | 294.6966 | 280.1062 | 267.879 | 276.4142 | 277.8675 | 289.2076 | 278.1113 | 268.8857 | 275.2816 | 281.7625 | 297.1621 | 280.3612 | 269.8464 | 276.1371