## Slide 1: Suva, Fiji – February 2015
Patrick Cullis, Francis Mani, Matakite Maata, Bryan Johnson at the University of the South Pacific.
Matakite Maata and Francis launch FJ402

## Slide 3
24 minute flight from Nadi to Suva

## Slide 4
Suva Airport

## Slide 6
Fruit bats
They all seemed to hang around in one large tree in the park across the street from the ocean side sidewalk. About 10 minute walk from Holiday Inn.

## Slide 9
USP Campus

## Slide 10
Filling the balloon.

## Slide 12
6 sondes on 4 balloons over 3 days using 2 solutions
- 2/3/15

## Slide 13
Ozonesonde ECC Equation:
Рozone = 4.307x10-4 • (I – IBG) • Tpump • T100 • PCF
Where:
Рozone= Partial pressure of ozone (millipascals).
4.307x10-4 = Constant to convert current to ozone concentration.
I = Cell current (microamps) ~ 5 μamps @ O3 peak in stratosphere.
IBG = Cell background current ~ < 0.03 μamps on zero O3 filter.
Tpump = Temperature of sonde pump (K).
T100 = Pump flow rate: seconds per 100 cc.
PCF = Pump flow rate efficiency correction factor.

## Slide 14
Ozonesonde ECC Equation:
Рozone = 4.307x10-4 • (I – IBG) • Tpump • T100 • PCF • CF-total column • CF-Humidity Correction
Where:
Рozone= Partial pressure of ozone (millipascals).
4.307x10-4 = Constant to convert current to ozone concentration.
I = Cell current (microamps) ~ 5 μamps @ O3 peak in stratosphere.
IBG = Cell background current ~ < 0.03 μamps on zero O3 filter.
Tpump = Temperature of sonde pump (K).
T100 = Pump flow rate: seconds per 100 cc.
PCF = Pump flow rate efficiency correction factor.
CF-total column (ratio of total column ozone from Dobson / total column sonde)
CF-Humidity Correction (0-4%) for soap bubble flow rate evaporation

## Slide 15
Uncertainty ozone column for NDACC and WOUDC

## Slide 18
Ozonesonde sensor solutions

## Slide 19
The 2% KI unbuffered solution source came from the 1960s-1970s air pollution and ozone studies. The potassium iodide method was used in colorimetric or other wet chemical methods.

## Slide 21
Birdsall, C. M., A. C. Jenkins, and E. Spadinger,
Iodometric determination of ozone,
Analytical Chemistry, 24, 662-664, 1952.
Conclusion
In the concentration investigated (1 to 35 mole %) the use of a 2% unbuffered aqueous solution of potassium iodide for the analytical determination of ozone gives precise results which are accurate to 2% when compared with a physical method.

## Slide 22
Fiji Dual Sonde Comparison:
Dual Sonde #1

## Slide 23: Fiji Dual Sonde 1 – 2/4/2015 @ 9:45am
Sonde A – 1% 1/10th Buffer
CMR = 269.5DU
SBUV = 248.2DU
Sonde B – 2% No Buffer
CMR = 246.4DU = -23.1DU = -8.6%
SBUV = 231.7DU = -16.5DU = -6.6%

## Slide 24: Fiji Dual Sonde 1 – 2/4/2015 @ 9:45am
Sonde A – 1% 1/10th Buffer
CMR = 269.5DU
SBUV = 248.2DU
Sonde B – 2% No Buffer
CMR = 246.4DU = -23.1DU = -8.6%
SBUV = 231.7DU = -16.5DU = -6.6%
We only see 2% solutions reading low in the tropics. Difficult to apply overall correction for 2% solutions.

## Slide 25
Dual Sonde #2

## Slide 26: Fiji Dual Sonde 2 – 2/4/2015 @ 2:18pm
Sonde A – 1% 1/10th Buffer
CMR = 283.5DU
SBUV = 253.8DU
Sonde B – 2% No Buffer
CMR = 271.3DU = -12.2DU = -4.3%
SBUV = 247.3DU = -6.5DU = -2.6%

## Slide 27
Boulder Quad Sonde 1
We do not see the separation of readings between solution types at the mid latitudes.

## Slide 28
Boulder Quad Sonde 2
We do not see the separation of readings between solution types at the mid latitudes.

## Slide 30
Patrick and Matakite

## Slide 32
University of South Pacific balloon launch site.

## Slide 35
The 2% KI unbuffered solution source came from the 1960s-1970s air pollution and ozone studies. The potassium iodide method was

## Slide 37
Birdsall, C. M., A. C. Jenkins, and E. Spadinger,
Iodometric determination of ozone,
Analytical Chemistry, 24, 662-664, 1952.
Conclusion
In the concentration investigated (1 to 35 mole %) the use of a 2% unbuffered aqueous solution of potassium iodide for the analytical determination of ozone gives precise results which are accurate to 2% when compared with a physical method.

## Slide 40: Step 2 – Background Reduction

## Slide 43
JOSIE 1% Full Buffer Comparison JS027

## Slide 45
After 2% correction means the profiles were multiplied by linear 1.04 (best correction for now).

## Slide 47
After 1% correction means the 1% full buffered profiles were multiplied by ozone amount dependent correction to reduce high reading of ozone from buffers.

## Slide 48
Sonde vs. Satelite = -0.63%
Sonde vs. Dobson = 1.59%
Sonde vs. Satelite = -2.25%
Sonde vs. Dobson = -0.66%
Sonde vs. Satelite = -2.79%
Sonde vs. Dobson = -0.42%